## Tabelle1
Calib Stage | Scenario | Build Func | Subtype | Age Range | heating_day_setpoint_range | heating_night_setpoint_range | cooling_day_setpoint_range | cooling_night_setpoint_range | max_heating_supply_air_temp_range | min_cooling_supply_air_temp_range | schedule_details
pre_calibration | scenario1 | residential | Corner House | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | 1992 - 2005 | (19.0, 20.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (50.0, 55.0) | (12.0, 14.0) | day_start=06:00; day_end=22:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | 1975 - 1991 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | 1965 - 1974 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | 1945 - 1964 | (18.5, 20.5) | (15.0, 16.0) | (23.5, 25.5) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Corner House | < 1945 | (18.0, 20.0) | (15.0, 16.0) | (23.0, 25.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 1992 - 2005 | (19.0, 20.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (50.0, 55.0) | (12.0, 14.0) | day_start=06:00; day_end=22:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 1975 - 1991 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 1965 - 1974 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | 1945 - 1964 | (18.5, 20.5) | (15.0, 16.0) | (23.5, 25.5) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Apartment | < 1945 | (18.0, 20.0) | (15.0, 16.0) | (23.0, 25.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 1992 - 2005 | (19.0, 20.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (50.0, 55.0) | (12.0, 14.0) | day_start=06:00; day_end=22:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 1975 - 1991 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 1965 - 1974 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | 1945 - 1964 | (18.5, 20.5) | (15.0, 16.0) | (23.5, 25.5) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Terrace or Semi-detached House | < 1945 | (18.0, 20.0) | (15.0, 16.0) | (23.0, 25.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 1992 - 2005 | (19.0, 20.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (50.0, 55.0) | (12.0, 14.0) | day_start=06:00; day_end=22:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 1975 - 1991 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 1965 - 1974 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | 1945 - 1964 | (18.5, 20.5) | (15.0, 16.0) | (23.5, 25.5) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Detached House | < 1945 | (18.0, 20.0) | (15.0, 16.0) | (23.0, 25.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 1992 - 2005 | (19.0, 20.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (50.0, 55.0) | (12.0, 14.0) | day_start=06:00; day_end=22:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 1975 - 1991 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 1965 - 1974 | (19.0, 21.0) | (15.0, 16.0) | (24.0, 26.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | 1945 - 1964 | (18.5, 20.5) | (15.0, 16.0) | (23.5, 25.5) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | residential | Two-and-a-half-story House | < 1945 | (18.0, 20.0) | (15.0, 16.0) | (23.0, 25.0) | (26.0, 28.0) | (45.0, 55.0) | (12.0, 14.0) | day_start=07:00; day_end=23:00; occ: weekday=FullOccupancy, weekend=FullOccupancy
pre_calibration | scenario1 | non_residential | Meeting Function | 2015 and later | (20.0, 20.0) | (16.0, 16.0) | (24.0, 24.0) | (26.0, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=22:00; we_start=08:00; we_end=18:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | 2006 - 2014 | (20.0, 20.0) | (16.0, 16.0) | (24.0, 24.0) | (26.0, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=22:00; we_start=08:00; we_end=18:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | 1992 - 2005 | (20.0, 20.0) | (16.0, 16.0) | (23.0, 24.0) | (25.0, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=21:00; we_start=09:00; we_end=15:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | 1975 - 1991 | (20.0, 20.0) | (16.0, 16.0) | (23.0, 24.0) | (25.0, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=21:00; we_start=09:00; we_end=15:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | 1965 - 1974 | (20.0, 20.0) | (16.0, 16.0) | (24.0, 24.0) | (26.0, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=22:00; we_start=08:00; we_end=18:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | 1945 - 1964 | (19.5, 20.0) | (15.5, 16.0) | (23.5, 24.0) | (25.5, 26.0) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=20:00; we_start=08:00; we_end=18:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Meeting Function | < 1945 | (19.0, 19.5) | (15.0, 15.5) | (23.0, 23.5) | (25.0, 25.5) | (60.0, 70.0) | (12.0, 14.0) | wd_start=08:00; wd_end=20:00; we_start=08:00; we_end=18:00; occ: wd=MeetingFunction_Weekday, we=MeetingFunction_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 2015 and later | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (60.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=18:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 2006 - 2014 | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (60.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=18:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 1992 - 2005 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=18:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 1975 - 1991 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=18:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 1965 - 1974 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=18:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | 1945 - 1964 | (19.5, 20.5) | (15.5, 16.5) | (23.5, 24.5) | (25.5, 26.5) | (65.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=20:00; we_start=08:00; we_end=17:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Healthcare Function | < 1945 | (19.0, 20.0) | (15.0, 16.0) | (23.0, 24.0) | (25.0, 26.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=07:00; wd_end=20:00; we_start=08:00; we_end=17:00; occ: wd=Healthcare_Weekday, we=Healthcare_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 2015 and later | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (60.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=21:00; we_start=09:00; we_end=19:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 2006 - 2014 | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (60.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=21:00; we_start=09:00; we_end=19:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 1992 - 2005 | (20.0, 21.0) | (16.0, 17.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=20:00; we_start=09:00; we_end=18:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 1975 - 1991 | (20.0, 21.0) | (16.0, 17.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=20:00; we_start=09:00; we_end=18:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 1965 - 1974 | (20.0, 21.0) | (16.0, 17.0) | (24.0, 25.0) | (26.0, 27.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=20:00; we_start=09:00; we_end=18:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | 1945 - 1964 | (19.5, 20.5) | (15.5, 16.5) | (23.5, 24.5) | (25.5, 26.5) | (65.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=20:00; we_start=09:00; we_end=18:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Sport Function | < 1945 | (19.0, 20.0) | (15.0, 16.0) | (23.0, 24.0) | (25.0, 26.0) | (65.0, 70.0) | (13.0, 15.0) | wd_start=09:00; wd_end=20:00; we_start=09:00; we_end=18:00; occ: wd=Sport_Weekday, we=Sport_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 2015 and later | (20.5, 21.5) | (16.0, 16.0) | (24.5, 25.5) | (26.5, 27.5) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=20:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 2006 - 2014 | (20.5, 21.5) | (16.0, 16.0) | (24.5, 25.5) | (26.5, 27.5) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=20:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 1992 - 2005 | (20.0, 21.0) | (15.5, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=19:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 1975 - 1991 | (20.0, 21.0) | (15.5, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=19:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 1965 - 1974 | (20.0, 21.0) | (15.5, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=19:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | 1945 - 1964 | (19.5, 20.5) | (15.0, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=19:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Cell Function | < 1945 | (19.0, 20.0) | (15.0, 15.5) | (23.0, 24.0) | (25.0, 26.0) | (62.0, 68.0) | (12.0, 14.0) | wd_start=08:00; wd_end=19:00; we_start=09:00; we_end=17:00; occ: wd=Cell_Weekday, we=Cell_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 2015 and later | (20.5, 21.5) | (16.0, 16.0) | (24.5, 25.5) | (26.5, 27.5) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=21:00; we_start=10:00; we_end=18:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 2006 - 2014 | (20.5, 21.5) | (16.0, 16.0) | (24.5, 25.5) | (26.5, 27.5) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=21:00; we_start=10:00; we_end=18:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 1992 - 2005 | (20.0, 21.0) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=20:00; we_start=10:00; we_end=17:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 1975 - 1991 | (20.0, 21.0) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=20:00; we_start=10:00; we_end=17:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 1965 - 1974 | (20.0, 21.0) | (15.5, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=20:00; we_start=10:00; we_end=17:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | 1945 - 1964 | (19.5, 20.5) | (15.0, 15.5) | (23.5, 24.5) | (25.5, 26.5) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=19:00; we_start=10:00; we_end=17:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Retail Function | < 1945 | (19.0, 20.0) | (15.0, 15.0) | (23.0, 24.0) | (25.0, 26.0) | (63.0, 68.0) | (12.5, 14.0) | wd_start=09:00; wd_end=19:00; we_start=10:00; we_end=17:00; occ: wd=Retail_Weekday, we=Retail_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 2015 and later | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=20:00; we_start=07:00; we_end=18:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 2006 - 2014 | (21.0, 22.0) | (17.0, 17.0) | (25.0, 26.0) | (27.0, 28.0) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=20:00; we_start=07:00; we_end=18:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 1992 - 2005 | (20.5, 21.5) | (16.5, 17.0) | (24.5, 25.5) | (26.5, 27.5) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=19:00; we_start=07:00; we_end=18:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 1975 - 1991 | (20.5, 21.5) | (16.5, 17.0) | (24.5, 25.5) | (26.5, 27.5) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=19:00; we_start=07:00; we_end=18:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 1965 - 1974 | (20.5, 21.5) | (16.5, 17.0) | (24.5, 25.5) | (26.5, 27.5) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=19:00; we_start=07:00; we_end=18:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | 1945 - 1964 | (20.0, 21.0) | (16.0, 16.5) | (23.0, 24.0) | (26.0, 27.0) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=18:00; we_start=07:00; we_end=17:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Industrial Function | < 1945 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (65.0, 75.0) | (13.0, 15.0) | wd_start=06:00; wd_end=18:00; we_start=07:00; we_end=17:00; occ: wd=Industrial_Weekday, we=Industrial_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 2015 and later | (20.5, 21.5) | (16.5, 16.5) | (24.5, 25.5) | (26.5, 27.5) | (58.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=22:00; we_start=08:00; we_end=20:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 2006 - 2014 | (20.5, 21.5) | (16.5, 16.5) | (24.5, 25.5) | (26.5, 27.5) | (58.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=22:00; we_start=08:00; we_end=20:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 1992 - 2005 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=20:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 1975 - 1991 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=20:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 1965 - 1974 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=21:00; we_start=08:00; we_end=20:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | 1945 - 1964 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=20:00; we_start=08:00; we_end=19:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Accommodation Function | < 1945 | (19.0, 20.0) | (15.0, 15.0) | (23.0, 24.0) | (25.0, 26.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=07:00; wd_end=20:00; we_start=08:00; we_end=19:00; occ: wd=Accommodation_Weekday, we=Accommodation_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (58.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=18:00; we_start=09:00; we_end=17:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (58.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=18:00; we_start=09:00; we_end=17:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 1992 - 2005 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 1975 - 1991 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 1965 - 1974 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | 1945 - 1964 | (19.0, 20.0) | (15.0, 15.5) | (23.0, 24.0) | (25.0, 26.0) | (60.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Office Function | < 1945 | (18.5, 19.5) | (15.0, 15.0) | (22.5, 23.5) | (24.5, 25.5) | (60.0, 65.0) | (12.0, 14.0) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=Office_Weekday, we=Office_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 2015 and later | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (58.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=15:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 2006 - 2014 | (20.0, 21.0) | (16.0, 16.0) | (24.0, 25.0) | (26.0, 27.0) | (58.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=15:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 1992 - 2005 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 1975 - 1991 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 1965 - 1974 | (19.5, 20.5) | (15.5, 16.0) | (23.5, 24.5) | (25.5, 26.5) | (60.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | 1945 - 1964 | (19.0, 20.0) | (15.0, 15.5) | (23.0, 24.0) | (25.0, 26.0) | (60.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=15:00; we_start=09:00; we_end=14:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Education Function | < 1945 | (18.5, 19.5) | (15.0, 15.0) | (22.5, 23.5) | (24.5, 25.5) | (60.0, 64.0) | (12.0, 14.0) | wd_start=08:00; wd_end=15:00; we_start=09:00; we_end=14:00; occ: wd=Education_Weekday, we=Education_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | 2015 and later | (20.0, 20.5) | (16.0, 16.0) | (24.0, 24.5) | (26.0, 26.5) | (58.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=18:00; we_start=09:00; we_end=17:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | 2006 - 2014 | (20.0, 20.5) | (16.0, 16.0) | (24.0, 24.5) | (26.0, 26.5) | (58.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=18:00; we_start=09:00; we_end=17:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | 1992 - 2005 | (19.5, 20.0) | (15.5, 16.0) | (23.5, 24.0) | (25.5, 26.0) | (60.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | 1975 - 1991 | (19.5, 20.0) | (15.5, 16.0) | (23.5, 24.0) | (25.5, 26.0) | (60.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | 1965 - 1974 | (19.5, 20.0) | (15.5, 16.0) | (23.5, 24.0) | (25.5, 26.0) | (60.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=17:00; we_start=09:00; we_end=16:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend
pre_calibration | scenario1 | non_residential | Other Use Function | < 1945 | (19.0, 19.5) | (15.0, 15.0) | (23.0, 23.5) | (25.0, 25.5) | (60.0, 63.0) | (12.0, 13.5) | wd_start=08:00; wd_end=16:00; we_start=09:00; we_end=15:00; occ: wd=OtherUse_Weekday, we=OtherUse_Weekend